## Sheet1
Metro Unit Process Information
| Number of basins | Total volume | Depth | Flow regime
Unit | # | (MG) | (ft)
Primary clarifiers | 8 | 13.3 | 12 | Radial, gravity settling
CaRRB total | 4 | 2.74 | 13.2 | Highly dispersed plug glow
Aerated zone | 4 | 2.3
Anoxic "swing zone" at end of CaRRB basins (after June 2011) | 4 | 0.44
Activated sludge aeration basin total | 12 | 24.6 | 13.2 | Less dispersed plug flow
Aerated zone (80-90% of total volume) |  | 4.1
Anoxic zone at front of aeration basins (10-20% of total volume) |  | 20.5
Secondary clarifiers | 12 | 15.7 | 13.1 | Radial, gravity settling
All influent and return flows are in plant data files, except internal recirculation of MLSS from aerated to anoxic zone = influent flow rate.